## Title Page
Street Lighting Toolkit Financial Model
| Current Scenario selected | Base
For details on the use of this Financial Model please see the Street Lighting Toolkit document, Part C
Use the area below to record details of the modelling being undertaken, and any key assumptions made.
Inputs from 'Technical Model - worked example' - partial upgrade to LED (60% of existing lanterns upgraded) Base case scenario split over two tranches of debt Please see Street Lighting Toolkit document, Part D for further notes on the worked example.
Scottish Futures Trust Disclaimer
This financial model (“Model”) was developed by Scottish Futures Trust (“SFT”) to support the development of an initial feasibility study by providing a high level indication of the impact of an upgrade in street lighting. It is not intended, and should not be used as the basis for investment decision making. The Model has been developed using data and assumptions from a variety of sources. SFT has not sought to establish the reliability of those sources or verified the information so provided, nor has the Model been audited by SFT. Accordingly, no representation or warranty of any kind (whether express or implied) is given by SFT to any person as to the internal consistency or accuracy of the Model nor any output from it. Moreover the Model does not absolve any recipient from conducting its own audit in order to verify its functionality and/or performance. SFT accepts no duty of care to any person for the development of the Model, its use, nor in respect of any output from it. Accordingly, regardless of the form of action, whether in contract, delict or otherwise, and to the extent permitted by applicable law, SFT accepts no liability of any kind and disclaims all responsibility for the consequences of any person acting or refraining to act in reliance on the Model and/or its output or for any decisions made or not made which are based upon such Model and/or its output.

## Input Constants
Scottish Futures Trust Model
Scenario: Base
|  | Input Constants |  | unit | BASE | CASE 1 | CASE 2 | CASE 3 | CASE 4 | CASE 5 | CASE 6
|  | Scenario Selection | BASE
|  | Scenario Location | 1
Dates
|  | Base year | 2012 |  | 2012
|  | First financial year end | 2013-03-31 | date
|  | Operations Start Date | 2012-04-01 | date
|  | Length of the Analysis Period | 25 | years | 25
|  | Operations End Date | 2037-03-31 | date
|  | Base year for costs | 2012
|  | Base financial year for costs | 2013-03-31 | date
|  | Discount rate for Net Present Value calculation | 6.087% | %
Status Quo - Constant Assumptions:
|  | Maintenance Status Quo Inflation | 2.5% | p.a. | 2.5%
|  | Energy Status Quo Inflation | 2.5% | p.a. | 2.5%
|  | Other Operational Costs Status Quo Inflation | 2.5% | p.a. | 2.5%
Upgrade to be analysed - Constant Assumptions:
|  | Maintenance Upgrade Inflation | 2.5% | p.a. | 2.5%
|  | Energy Upgrade Inflation | 2.5% | p.a. | 2.5%
|  | Other Operational Costs Upgrade Inflation | 2.5% | p.a. | 2.5%
|  | Capital costs inflation | 1% | p.a. | 1%
Financing Assumptions:
|  | Repayment Method (annuity or flat repayment profile) | Annuity |  | Annuity
|  | Tranche A Term Length | 15 | years | 15
|  | Tranche A Interest Rate | 4% | p.a. | 4%
|  | Tranche A % of Total Financing | 80% | % | 80%
|  | Tranche B Term Length | 10 | years | 10
|  | Tranche B Interest Rate | 6% | p.a. | 6%
|  | Tranche B % of Total Financing | 20% | % | 20%
|  | Tranche C Term Length | 10 | years | 10
|  | Tranche C Interest Rate | 5% | p.a. | 5%
|  | Tranche C % of Total Financing | 0% | % | 0%
|  | Repayment profile | Years
|  | Annuity | 2012
|  | Flat | 2013
2014
2015
2016
2017
2018
2019

## Input Profile
Scottish Futures Trust Model |  |  | Period Starting |  |  | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2032-04-01 | 2033-04-01 | 2034-04-01 | 2035-04-01 | 2036-04-01 | 2037-04-01 | 2038-04-01 | 2039-04-01 | 2040-04-01 | 2041-04-01 | 2042-04-01 | 2043-04-01 | 2044-04-01 | 2045-04-01
Scenario: Base |  |  | Period Ending |  |  | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31 | 2033-03-31 | 2034-03-31 | 2035-03-31 | 2036-03-31 | 2037-03-31 | 2038-03-31 | 2039-03-31 | 2040-03-31 | 2041-03-31 | 2042-03-31 | 2043-03-31 | 2044-03-31 | 2045-03-31 | 2046-03-31
|  |  | Year |  |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
|  | Input Profile |  | unit | total
Construction
Real Construction Costs:
|  | Capital costs - lantern replacements |  | £ | 2866000 | 0 | 0 | 0 | 2866000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs - other infrastructure (e.g. columns) |  | £ | 500000 | 2016-03-31: 500000
|  | Capital costs - other costs |  | £ | 0
|  | Total Real Construction Costs |  |  | 3366000 | 0 | 0 | 0 | 3366000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nominal Capital Contribution:
|  | Council Contribution |  | £ | 0
|  | Other Contribution |  | £ | 0
|  | Total Nominal Contribution |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating costs
Existing Status Quo costs in real terms
|  | Maintenance |  | £ | 6910758.9286 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 0 | 0 | 0 | 0
|  | Energy costs |  | £ | 16033084.0884 | 423898.789 | 436559 | 459399.5184 | 457626.3478 | 466048.9084 | 471261.7634 | 468487.018 | 478177.7956 | 494587.9567 | 514426.1366 | 521780.4619 | 524810.1839 | 543643.456 | 555807.34 | 558965.3836 | 570742.6364 | 571124.2681 | 572154.1736 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 0 | 0 | 0 | 0
|  | Other operational costs |  | £ | 0
|  | Total Real Status Quo costs |  |  | 22943843.017 | 673780.8575 | 686441.0685 | 709281.5869 | 707508.4162 | 715930.9768 | 721143.8319 | 718369.0865 | 728059.864 | 745618.4626 | 765456.6425 | 772810.9678 | 775840.6898 | 794673.962 | 806837.846 | 809995.8896 | 821773.1424 | 778514.149 | 779544.0545 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 0 | 0 | 0 | 0
Upgrade Costs in real terms
|  | Maintenance |  | £ | 3553432.7292 | 249882.0685 | 249882.0685 | 249882.0685 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 0 | 0 | 0 | 0
|  | Energy costs |  | £ | 9046939.0504 | 423898.789 | 436559 | 459399.5184 | 240335.8726 | 244759.2268 | 247496.9103 | 246039.6715 | 251129.067 | 259747.3435 | 270165.9444 | 274028.2836 | 275619.4308 | 285510.2749 | 291898.4947 | 293557.0337 | 299742.2028 | 299942.6278 | 300483.5129 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 0 | 0 | 0 | 0
|  | Other operational costs |  | £ | 0
|  | Total Real Upgrade Costs |  |  | 12600371.7795 | 673780.8575 | 686441.0685 | 709281.5869 | 326905.9946 | 331329.3489 | 334067.0323 | 332609.7935 | 337699.189 | 346317.4655 | 356736.0664 | 360598.4056 | 392541.1153 | 402431.9595 | 408820.1792 | 410478.7183 | 416663.8873 | 416864.3124 | 417405.1974 | 420807.1717 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 0 | 0 | 0 | 0
Carbon Cost
|  | Energy Consumption - Status Quo |  | kWh | 130967700 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 0 | 0 | 0 | 0
|  | Energy Consumption - Upgrade |  | kWh | 75000139.314 | 4365590 | 4365590 | 4365590 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 0 | 0 | 0 | 0
|  | CO2 emissions - Status Quo |  | tonnes | 36278.0529 | 2051.8273 | 2008.1714 | 1877.2037 | 1877.2037 | 1789.8919 | 1746.236 | 1702.5801 | 1615.2683 | 1440.6447 | 1353.3329 | 1309.677 | 1178.7093 | 1178.7093 | 1178.7093 | 1091.3975 | 1047.7416 | 960.4298 | 916.7739 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 0 | 0 | 0 | 0
|  | CO2 emissions - Upgrade |  | tonnes | 21871.5882 | 2051.8273 | 2008.1714 | 1877.2037 | 985.8685 | 940.0141 | 917.087 | 894.1598 | 848.3054 | 756.5967 | 710.7424 | 687.8152 | 619.0337 | 619.0337 | 619.0337 | 573.1793 | 550.2522 | 504.3978 | 481.4707 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 0 | 0 | 0 | 0
|  | Cost of buying carbon allowances |  | £/CO2 tonne |  | 12 | 12 | 16 | 16 | 16 | 16 | 20 | 20 | 25 | 25 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30

## Flags
Scottish Futures Trust Model |  | Period Starting |  |  | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2032-04-01 | 2033-04-01 | 2034-04-01 | 2035-04-01 | 2036-04-01 | 2037-04-01 | 2038-04-01 | 2039-04-01 | 2040-04-01 | 2041-04-01 | 2042-04-01 | 2043-04-01 | 2044-04-01 | 2045-04-01
Scenario: Base |  | Period Ending |  |  | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31 | 2033-03-31 | 2034-03-31 | 2035-03-31 | 2036-03-31 | 2037-03-31 | 2038-03-31 | 2039-03-31 | 2040-03-31 | 2041-03-31 | 2042-03-31 | 2043-03-31 | 2044-03-31 | 2045-03-31 | 2046-03-31
|  | Year |  |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Flags |  | unit | total
| Operations Start Date | 2012-04-01
| Operations End Date | 2037-03-31
| Operating Flag |  |  | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| First period of concession |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Final period of concession |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Upgrade year | 2016-03-31 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tranche A First repayment date | 2016-03-31
| Tranche A Term Length | 15 | years
| Tranche A Final repayment date | 2030-03-31
| Tranche A Repayment Flag |  |  | 15 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tranche B First repayment date | 2016-03-31
| Tranche B Term Length | 10 | years
| Tranche B Final repayment date | 2025-03-31
| Tranche B Repayment Flag |  |  | 10 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tranche C First repayment date | 2016-03-31
| Tranche C Term Length | 10 | years
| Tranche C Final repayment date | 2025-03-31
| Tranche C Repayment Flag |  |  | 10 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Maintenance Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Energy Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Other Operational Costs Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Maintenance Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Energy Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Other Operational Costs Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
| Capital costs inflation | 1% | p.a. |  | 1 | 1.01 | 1.0201 | 1.0303 | 1.0406 | 1.051 | 1.0615 | 1.0722 | 1.0829 | 1.0937 | 1.1047 | 1.1158 | 1.1269 | 1.1382 | 1.1496 | 1.1611 | 1.1727 | 1.1844 | 1.1963 | 1.2083 | 1.2204 | 1.2326 | 1.2449 | 1.2574 | 1.2699 | 1.2826 | 1.2955 | 1.3085 | 1.3215 | 1.3348 | 1.3481 | 1.3616 | 1.3752 | 1.389

## Workings
Scottish Futures Trust Model |  |  | Period Starting |  |  | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2032-04-01 | 2033-04-01 | 2034-04-01 | 2035-04-01 | 2036-04-01 | 2037-04-01 | 2038-04-01 | 2039-04-01 | 2040-04-01 | 2041-04-01 | 2042-04-01 | 2043-04-01 | 2044-04-01 | 2045-04-01
Scenario: Base |  |  | Period Ending |  |  | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31 | 2033-03-31 | 2034-03-31 | 2035-03-31 | 2036-03-31 | 2037-03-31 | 2038-03-31 | 2039-03-31 | 2040-03-31 | 2041-03-31 | 2042-03-31 | 2043-03-31 | 2044-03-31 | 2045-03-31 | 2046-03-31
|  |  | Year |  |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
|  | Workings |  | unit | total
Capital Costs
Real Construction Costs:
|  | Capital costs - lantern replacements |  |  | 2866000 | 0 | 0 | 0 | 2866000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs - other infrastructure (e.g. columns) |  |  | 500000 | 0 | 0 | 0 | 500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs - other costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Real Construction |  |  | 3366000 | 0 | 0 | 0 | 3366000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs inflation | 1% | p.a. |  | 1 | 1.01 | 1.0201 | 1.0303 | 1.0406 | 1.051 | 1.0615 | 1.0722 | 1.0829 | 1.0937 | 1.1047 | 1.1158 | 1.1269 | 1.1382 | 1.1496 | 1.1611 | 1.1727 | 1.1844 | 1.1963 | 1.2083 | 1.2204 | 1.2326 | 1.2449 | 1.2574 | 1.2699 | 1.2826 | 1.2955 | 1.3085 | 1.3215 | 1.3348 | 1.3481 | 1.3616 | 1.3752 | 1.389
Nominal Construction Costs:
|  | Capital costs - lantern replacements |  |  | 2952923.1651 | 0 | 0 | 0 | 2952923.1651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs - other infrastructure (e.g. columns) |  |  | 515164.5438 | 0 | 0 | 0 | 515164.5438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital costs - other costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Construction |  |  | 3468087.7089 | 0 | 0 | 0 | 3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cumulative Construction Costs |  |  |  | 0 | 0 | 0 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089 | 3468087.7089
|  | Total Nominal Construction POS |  |  | 3468087.7089 | 0 | 0 | 0 | 3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Construction |  |  | -3468087.7089 | 0 | 0 | 0 | -3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Budget Costs
|  | First period of concession |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Council Budgets - real Status Quo costs
|  | Maintenance |  |  | 6910758.9286 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 249882.0685 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 251030.506 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 207389.881 | 0 | 0 | 0 | 0
|  | Energy costs |  |  | 16033084.0884 | 423898.789 | 436559 | 459399.5184 | 457626.3478 | 466048.9084 | 471261.7634 | 468487.018 | 478177.7956 | 494587.9567 | 514426.1366 | 521780.4619 | 524810.1839 | 543643.456 | 555807.34 | 558965.3836 | 570742.6364 | 571124.2681 | 572154.1736 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 578631.9126 | 0 | 0 | 0 | 0
|  | Other operational costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Budget Real Status Quo costs |  |  | 22943843.017 | 673780.8575 | 686441.0685 | 709281.5869 | 707508.4162 | 715930.9768 | 721143.8319 | 718369.0865 | 728059.864 | 745618.4626 | 765456.6425 | 772810.9678 | 775840.6898 | 794673.962 | 806837.846 | 809995.8896 | 821773.1424 | 778514.149 | 779544.0545 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 786021.7936 | 0 | 0 | 0 | 0
|  | Operating Flag |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Maintenance Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
|  | Energy Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
|  | Other Operational Costs Status Quo Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
Council Budgets - nominal Status Quo costs
|  | Maintenance |  |  | 7921348.8262 | 249882.0685 | 256129.1202 | 262532.3482 | 269113.8621 | 275841.7086 | 282737.7513 | 289806.1951 | 297071.4465 | 305897.6816 | 313545.1236 | 321383.7517 | 329440.6317 | 337676.6475 | 346118.5637 | 354771.5278 | 363665.4175 | 307954.7665 | 315653.6356 | 323544.9765 | 331656.037 | 339947.4379 | 348446.1239 | 357157.277 | 366110.9758 | 375263.7502 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy costs |  |  | 18255383.4601 | 423898.789 | 447472.975 | 482656.619 | 492846.8641 | 514465.5956 | 533225.5016 | 543338.0674 | 568480.0446 | 602688.939 | 642534.6831 | 668013.4821 | 688736.207 | 731288.4105 | 766342.0726 | 789963.7631 | 826829.2269 | 848066.6452 | 870835.8585 | 902712.5514 | 925342.9634 | 948476.5375 | 972188.451 | 996493.1622 | 1021474.5927 | 1047011.4575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other operational costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Budget Status Quo costs |  |  | 26176732.2862 | 673780.8575 | 703602.0952 | 745188.9672 | 761960.7262 | 790307.3043 | 815963.2529 | 833144.2625 | 865551.4911 | 908586.6206 | 956079.8067 | 989397.2338 | 1018176.8388 | 1068965.058 | 1112460.6364 | 1144735.2909 | 1190494.6444 | 1156021.4117 | 1186489.4941 | 1226257.5279 | 1256999.0004 | 1288423.9755 | 1320634.5748 | 1353650.4392 | 1387585.5686 | 1422275.2078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Council Budget - real Upgrade costs
|  | Maintenance |  |  | 3553432.7292 | 249882.0685 | 249882.0685 | 249882.0685 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 86570.122 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 116921.6845 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 106895.6429 | 0 | 0 | 0 | 0
|  | Energy costs |  |  | 9046939.0504 | 423898.789 | 436559 | 459399.5184 | 240335.8726 | 244759.2268 | 247496.9103 | 246039.6715 | 251129.067 | 259747.3435 | 270165.9444 | 274028.2836 | 275619.4308 | 285510.2749 | 291898.4947 | 293557.0337 | 299742.2028 | 299942.6278 | 300483.5129 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 303885.4871 | 0 | 0 | 0 | 0
|  | Other operational costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Budget Real Upgrade costs |  |  | 12600371.7795 | 673780.8575 | 686441.0685 | 709281.5869 | 326905.9946 | 331329.3489 | 334067.0323 | 332609.7935 | 337699.189 | 346317.4655 | 356736.0664 | 360598.4056 | 392541.1153 | 402431.9595 | 408820.1792 | 410478.7183 | 416663.8873 | 416864.3124 | 417405.1974 | 420807.1717 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 410781.13 | 0 | 0 | 0 | 0
|  | Operating Flag |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Maintenance Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
|  | Energy Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
|  | Other Operational Costs Upgrade Inflation | 2.5% | p.a. |  | 1 | 1.025 | 1.0506 | 1.077 | 1.1039 | 1.1315 | 1.1598 | 1.1888 | 1.2186 | 1.249 | 1.2803 | 1.3124 | 1.3452 | 1.3788 | 1.4133 | 1.4487 | 1.4849 | 1.522 | 1.5601 | 1.5992 | 1.6392 | 1.6802 | 1.7222 | 1.7653 | 1.8095 | 1.8547 | 1.9011 | 1.9487 | 1.9974 | 2.0474 | 2.0986 | 2.1512 | 2.2049 | 2.2601
Upgrades Costs - nominal
|  | Maintenance |  |  | 4015592.1706 | 249882.0685 | 256129.1202 | 262532.3482 | 93232.8599 | 95563.6814 | 97952.7734 | 100401.5928 | 102918.5949 | 105491.5598 | 108128.8488 | 110832.07 | 153442.5207 | 157278.5837 | 161210.5483 | 165240.812 | 169383.2909 | 173617.8732 | 177958.32 | 182407.278 | 170946.553 | 175220.2169 | 179600.7223 | 184090.7403 | 188705.7746 | 193423.4189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy costs |  |  | 10230269.7535 | 423898.789 | 447472.975 | 482656.619 | 258832.9577 | 270186.6675 | 280038.9812 | 285349.8912 | 298553.9365 | 316519.7388 | 337445.8977 | 350826.8348 | 361709.9804 | 384057.5157 | 402466.9725 | 414872.5947 | 434233.5722 | 445387.0241 | 457344.943 | 474085.9214 | 485970.9447 | 498120.2183 | 510573.2238 | 523337.5544 | 536457.2839 | 549868.716 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other operational costs |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Budget Upgrade Costs |  |  | 14245861.9241 | 673780.8575 | 703602.0952 | 745188.9672 | 352065.8176 | 365750.3488 | 377991.7546 | 385751.4839 | 401472.5314 | 422011.2985 | 445574.7464 | 461658.9048 | 515152.5012 | 541336.0994 | 563677.5208 | 580113.4068 | 603616.8631 | 619004.8973 | 635303.263 | 656493.1994 | 656917.4978 | 673340.4352 | 690173.9461 | 707428.2947 | 725163.0584 | 743292.1349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carbon Costs
|  | Operating Flag |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | First period of concession |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Final period of concession |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of buying carbon allowances |  | £/CO2 tonne |  | 12 | 12 | 16 | 16 | 16 | 16 | 20 | 20 | 25 | 25 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Status Quo
|  | Tonnes of CO2 |  | tonnes of CO2 | 32130.7424 | 2051.8273 | 2008.1714 | 1877.2037 | 1877.2037 | 1789.8919 | 1746.236 | 1702.5801 | 1615.2683 | 1440.6447 | 1353.3329 | 1309.677 | 1178.7093 | 1178.7093 | 1178.7093 | 1091.3975 | 1047.7416 | 960.4298 | 916.7739 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 829.4621 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of buying CO2 |  | £ | 741626.4292 | 24621.9276 | 24098.0568 | 30035.2592 | 30035.2592 | 28638.2704 | 27939.776 | 34051.602 | 32305.366 | 36016.1175 | 33833.3225 | 39290.31 | 35361.279 | 35361.279 | 35361.279 | 32741.925 | 31432.248 | 28812.894 | 27503.217 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Consumption - Status Quo |  | kWh | 109139750 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 4365590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Consumption - Status Quo at start of concession |  |  | 4365590 | 4365590 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Upgrade
|  | Tonnes of CO2 |  | tonnes of CO2 | 19693.5067 | 2051.8273 | 2008.1714 | 1877.2037 | 985.8685 | 940.0141 | 917.087 | 894.1598 | 848.3054 | 756.5967 | 710.7424 | 687.8152 | 619.0337 | 619.0337 | 619.0337 | 573.1793 | 550.2522 | 504.3978 | 481.4707 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 435.6163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of buying CO2 |  | £ | 426881.4509 | 24621.9276 | 24098.0568 | 30035.2592 | 15773.8956 | 15040.226 | 14673.3912 | 17883.1956 | 16966.1086 | 18914.9184 | 17768.5597 | 20634.4564 | 18571.0108 | 18571.0108 | 18571.0108 | 17195.3804 | 16507.5652 | 15131.9347 | 14444.1195 | 13068.4891 | 13068.4891 | 13068.4891 | 13068.4891 | 13068.4891 | 13068.4891 | 13068.4891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tonnes of carbon saved |  | tonnes of CO2 |  | 0 | 0 | 0 | 891.3352 | 849.8778 | 829.149 | 808.4203 | 766.9629 | 684.048 | 642.5905 | 621.8618 | 559.6756 | 559.6756 | 559.6756 | 518.2182 | 497.4894 | 456.032 | 435.3032 | 393.8458 | 393.8458 | 393.8458 | 393.8458 | 393.8458 | 393.8458 | 393.8458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cumulative tonnes of carbon saved |  | tonnes of CO2 |  | 0 | 0 | 0 | 891.3352 | 1741.213 | 2570.362 | 3378.7824 | 4145.7452 | 4829.7932 | 5472.3837 | 6094.2455 | 6653.9211 | 7213.5967 | 7773.2723 | 8291.4905 | 8788.9799 | 9245.0119 | 9680.3151 | 10074.1609 | 10468.0067 | 10861.8525 | 11255.6983 | 11649.5441 | 12043.3899 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357 | 12437.2357
|  | Energy Consumption - Upgrade |  | kWh | 63536552.404 | 4365590 | 4365590 | 4365590 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 2292717.382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Energy Consumption - Upgrade at end of concession |  |  | 2292717.382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2292717.382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Financing
Scottish Futures Trust Model |  |  | Period Starting |  |  |  | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2032-04-01 | 2033-04-01 | 2034-04-01 | 2035-04-01 | 2036-04-01 | 2037-04-01 | 2038-04-01 | 2039-04-01 | 2040-04-01 | 2041-04-01 | 2042-04-01 | 2043-04-01 | 2044-04-01 | 2045-04-01
Scenario: Base |  |  | Period Ending |  |  |  | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31 | 2033-03-31 | 2034-03-31 | 2035-03-31 | 2036-03-31 | 2037-03-31 | 2038-03-31 | 2039-03-31 | 2040-03-31 | 2041-03-31 | 2042-03-31 | 2043-03-31 | 2044-03-31 | 2045-03-31 | 2046-03-31
|  |  | Year |  |  |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
|  | Funding |  | unit | total
|  | Total Nominal Construction |  |  | 3468087.7089 |  | 0 | 0 | 0 | 3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Contribution |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net Funding Requirement |  |  | 3468087.7089 |  | 0 | 0 | 0 | 3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Repayment Method (annuity or flat repayment profile) | Annuity
|  | Tranche A % of Total Financing | 80%
|  | Tranche B % of Total Financing | 20%
|  | Tranche C % of Total Financing | 0%
|  | Tranche A Drawdown |  |  | 2774470.1671 |  | 0 | 0 | 0 | 2774470.1671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Drawdown |  |  | 693617.5418 |  | 0 | 0 | 0 | 693617.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Drawdown |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tranche A
|  | Total Tranche A Funding | 2774470.1671
|  | Tranche A Term Length | 15 | years
|  | Tranche A Interest Rate | 4% | p.a.
|  | Tranche A Annuity Repayment |  |  |  |  | 0 | 0 | 0 | -138560.0931 | -144102.4968 | -149866.5967 | -155861.2606 | -162095.711 | -168579.5394 | -175322.721 | -182335.6298 | -189629.055 | -197214.2172 | -205102.7859 | -213306.8974 | -221839.1732 | -230712.7402 | -239941.2498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Flat Repayment | 0 | p.a. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Repayment Flag |  |  |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Repayment periods remaining |  |  |  |  | 15 | 15 | 15 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A b/f |  |  |  |  | 0 | 0 | 0 | 0 | 2635910.074 | 2491807.5772 | 2341940.9805 | 2186079.72 | 2023984.009 | 1855404.4696 | 1680081.7486 | 1497746.1187 | 1308117.0637 | 1110902.8465 | 905800.0606 | 692493.1632 | 470653.99 | 239941.2498 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10
|  | Tranche A Drawdown |  |  | 2774470.1671 |  | 0 | 0 | 0 | 2774470.1671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Principal - Annuity Repayment |  |  | -2774470.1671 |  | 0 | 0 | 0 | -138560.0931 | -144102.4968 | -149866.5967 | -155861.2606 | -162095.711 | -168579.5394 | -175322.721 | -182335.6298 | -189629.055 | -197214.2172 | -205102.7859 | -213306.8974 | -221839.1732 | -230712.7402 | -239941.2498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A c/f |  |  |  |  | 0 | 0 | 0 | 2635910.074 | 2491807.5772 | 2341940.9805 | 2186079.72 | 2023984.009 | 1855404.4696 | 1680081.7486 | 1497746.1187 | 1308117.0637 | 1110902.8465 | 905800.0606 | 692493.1632 | 470653.99 | 239941.2498 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10 | 2.3283e-10
|  | Tranche A Interest POS |  | £ | 968613.3295 |  | 0 | 0 | 0 | 110978.8067 | 105436.403 | 99672.3031 | 93677.6392 | 87443.1888 | 80959.3604 | 74216.1788 | 67203.2699 | 59909.8447 | 52324.6825 | 44436.1139 | 36232.0024 | 27699.7265 | 18826.1596 | 9597.65 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12
|  | Tranche A Interest |  |  | -968613.3295 |  | 0 | 0 | 0 | -110978.8067 | -105436.403 | -99672.3031 | -93677.6392 | -87443.1888 | -80959.3604 | -74216.1788 | -67203.2699 | -59909.8447 | -52324.6825 | -44436.1139 | -36232.0024 | -27699.7265 | -18826.1596 | -9597.65 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12
|  | Final period of concession |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A remaining at the end of the concession |  |  | 2.3283e-10 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3283e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tranche B
|  | Total Tranche B Funding | 693617.5418
|  | Tranche B Term Length | 10 | years
|  | Tranche B Interest Rate | 6% | p.a.
|  | Tranche B Annuity Repayment |  |  |  |  | 0 | 0 | 0 | -52623.3467 | -55780.7475 | -59127.5923 | -62675.2479 | -66435.7627 | -70421.9085 | -74647.223 | -79126.0564 | -83873.6198 | -88906.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Flat Repayment | 0 | p.a. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Repayment Flag |  |  |  |  | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Repayment periods remaining |  |  |  |  | 10 | 10 | 10 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B b/f |  |  |  |  | 0 | 0 | 0 | 0 | 640994.1951 | 585213.4476 | 526085.8553 | 463410.6074 | 396974.8447 | 326552.9362 | 251905.7131 | 172779.6568 | 88906.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Drawdown |  |  | 693617.5418 |  | 0 | 0 | 0 | 693617.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Principal - Annuity Repayment |  |  | -693617.5418 |  | 0 | 0 | 0 | -52623.3467 | -55780.7475 | -59127.5923 | -62675.2479 | -66435.7627 | -70421.9085 | -74647.223 | -79126.0564 | -83873.6198 | -88906.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B c/f |  |  |  |  | 0 | 0 | 0 | 640994.1951 | 585213.4476 | 526085.8553 | 463410.6074 | 396974.8447 | 326552.9362 | 251905.7131 | 172779.6568 | 88906.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Interest POS |  | £ | 248786.4501 |  | 0 | 0 | 0 | 41617.0525 | 38459.6517 | 35112.8069 | 31565.1513 | 27804.6364 | 23818.4907 | 19593.1762 | 15114.3428 | 10366.7794 | 5334.3622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Interest |  |  | -248786.4501 |  | 0 | 0 | 0 | -41617.0525 | -38459.6517 | -35112.8069 | -31565.1513 | -27804.6364 | -23818.4907 | -19593.1762 | -15114.3428 | -10366.7794 | -5334.3622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Final period of concession |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B remaining at the end of the concession |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tranche C
|  | Total Tranche C Funding | 0
|  | Tranche C Term Length | 10 | years
|  | Tranche C Interest Rate | 5% | p.a.
|  | Tranche C Annuity Repayment |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Flat Repayment | 0 | p.a. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Repayment Flag |  |  |  |  | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Repayment periods remaining |  |  |  |  | 10 | 10 | 10 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C b/f |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Drawdown |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Principal - Annuity Repayment |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C c/f |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Interest POS |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Interest |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Final period of concession |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C remaining at the end of the concession |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Comparison of Cashflows
Scottish Futures Trust Model |  |  | Period Starting |  |  | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2032-04-01 | 2033-04-01 | 2034-04-01 | 2035-04-01 | 2036-04-01 | 2037-04-01 | 2038-04-01 | 2039-04-01 | 2040-04-01 | 2041-04-01 | 2042-04-01 | 2043-04-01 | 2044-04-01 | 2045-04-01
Scenario: Base |  |  | Period Ending |  |  | 2013-03-31 | 2014-03-31 | 2015-03-31 | 2016-03-31 | 2017-03-31 | 2018-03-31 | 2019-03-31 | 2020-03-31 | 2021-03-31 | 2022-03-31 | 2023-03-31 | 2024-03-31 | 2025-03-31 | 2026-03-31 | 2027-03-31 | 2028-03-31 | 2029-03-31 | 2030-03-31 | 2031-03-31 | 2032-03-31 | 2033-03-31 | 2034-03-31 | 2035-03-31 | 2036-03-31 | 2037-03-31 | 2038-03-31 | 2039-03-31 | 2040-03-31 | 2041-03-31 | 2042-03-31 | 2043-03-31 | 2044-03-31 | 2045-03-31 | 2046-03-31
|  |  | Year |  |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
|  | Comparison of cashflows |  | unit | total
|  | Status Quo Costs |  | £ | 26176732.2862 | 673780.8575 | 703602.0952 | 745188.9672 | 761960.7262 | 790307.3043 | 815963.2529 | 833144.2625 | 865551.4911 | 908586.6206 | 956079.8067 | 989397.2338 | 1018176.8388 | 1068965.058 | 1112460.6364 | 1144735.2909 | 1190494.6444 | 1156021.4117 | 1186489.4941 | 1226257.5279 | 1256999.0004 | 1288423.9755 | 1320634.5748 | 1353650.4392 | 1387585.5686 | 1422275.2078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of Carbon - Status Quo |  | £ | 741626.4292 | 24621.9276 | 24098.0568 | 30035.2592 | 30035.2592 | 28638.2704 | 27939.776 | 34051.602 | 32305.366 | 36016.1175 | 33833.3225 | 39290.31 | 35361.279 | 35361.279 | 35361.279 | 32741.925 | 31432.248 | 28812.894 | 27503.217 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 24883.863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Upgrade Costs |  | £ | -14245861.9241 | -673780.8575 | -703602.0952 | -745188.9672 | -352065.8176 | -365750.3488 | -377991.7546 | -385751.4839 | -401472.5314 | -422011.2985 | -445574.7464 | -461658.9048 | -515152.5012 | -541336.0994 | -563677.5208 | -580113.4068 | -603616.8631 | -619004.8973 | -635303.263 | -656493.1994 | -656917.4978 | -673340.4352 | -690173.9461 | -707428.2947 | -725163.0584 | -743292.1349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of Carbon under Upgrade |  | £ | -426881.4509 | -24621.9276 | -24098.0568 | -30035.2592 | -15773.8956 | -15040.226 | -14673.3912 | -17883.1956 | -16966.1086 | -18914.9184 | -17768.5597 | -20634.4564 | -18571.0108 | -18571.0108 | -18571.0108 | -17195.3804 | -16507.5652 | -15131.9347 | -14444.1195 | -13068.4891 | -13068.4891 | -13068.4891 | -13068.4891 | -13068.4891 | -13068.4891 | -13068.4891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Savings / (Increased Costs) |  | £ | 12245615.3404 | 5.457e-11 | 0 | -2.9104e-11 | 424156.2722 | 438154.9998 | 451237.883 | 463561.185 | 479418.2171 | 503676.5211 | 526569.8231 | 546394.1826 | 519814.6058 | 544419.2268 | 565573.3837 | 580168.4288 | 601802.4641 | 550697.4736 | 564245.3286 | 581579.7024 | 611896.8766 | 626898.9142 | 642276.0027 | 658037.5184 | 674237.884 | 690798.4468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital Costs |  | £ | -3468087.7089 | 0 | 0 | 0 | -3468087.7089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Capital Contribution |  | £ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Drawdown |  | £ | 2774470.1671 | 0 | 0 | 0 | 2774470.1671 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Drawdown |  | £ | 693617.5418 | 0 | 0 | 0 | 693617.5418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Drawdown |  | £ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Savings / (Increased Costs) before financing costs |  | £ | 12245615.3404 | 5.457e-11 | 0 | -2.9104e-11 | 424156.2722 | 438154.9998 | 451237.883 | 463561.185 | 479418.2171 | 503676.5211 | 526569.8231 | 546394.1826 | 519814.6058 | 544419.2268 | 565573.3837 | 580168.4288 | 601802.4641 | 550697.4736 | 564245.3286 | 581579.7024 | 611896.8766 | 626898.9142 | 642276.0027 | 658037.5184 | 674237.884 | 690798.4468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Interest |  | £ | -968613.3295 | 0 | 0 | 0 | -110978.8067 | -105436.403 | -99672.3031 | -93677.6392 | -87443.1888 | -80959.3604 | -74216.1788 | -67203.2699 | -59909.8447 | -52324.6825 | -44436.1139 | -36232.0024 | -27699.7265 | -18826.1596 | -9597.65 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12
|  | Tranche B Interest |  | £ | -248786.4501 | 0 | 0 | 0 | -41617.0525 | -38459.6517 | -35112.8069 | -31565.1513 | -27804.6364 | -23818.4907 | -19593.1762 | -15114.3428 | -10366.7794 | -5334.3622 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Interest |  | £ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche A Principal Repayment |  | £ | -2774470.1671 | 0 | 0 | 0 | -138560.0931 | -144102.4968 | -149866.5967 | -155861.2606 | -162095.711 | -168579.5394 | -175322.721 | -182335.6298 | -189629.055 | -197214.2172 | -205102.7859 | -213306.8974 | -221839.1732 | -230712.7402 | -239941.2498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche B Principal Repayment |  | £ | -693617.5418 | 0 | 0 | 0 | -52623.3467 | -55780.7475 | -59127.5923 | -62675.2479 | -66435.7627 | -70421.9085 | -74647.223 | -79126.0564 | -83873.6198 | -88906.037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Tranche C Principal Repayment |  | £ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Savings / (Increased Costs) after financing costs |  | £ | 7560127.8519 | 5.457e-11 | 0 | -2.9104e-11 | 80376.9732 | 94375.7008 | 107458.5841 | 119781.886 | 135638.9181 | 159897.2222 | 182790.5241 | 202614.8836 | 176035.3069 | 200639.9278 | 316034.4839 | 330629.529 | 352263.5643 | 301158.5739 | 314706.4288 | 581579.7024 | 611896.8766 | 626898.9142 | 642276.0027 | 658037.5184 | 674237.884 | 690798.4468 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12
|  | Cumulative Savings before financing costs |  | £ |  | 5.457e-11 | 5.457e-11 | 2.5466e-11 | 424156.2722 | 862311.272 | 1313549.155 | 1777110.34 | 2256528.5571 | 2760205.0782 | 3286774.9013 | 3833169.0839 | 4352983.6897 | 4897402.9164 | 5462976.3002 | 6043144.7289 | 6644947.1931 | 7195644.6667 | 7759889.9953 | 8341469.6977 | 8953366.5743 | 9580265.4885 | 10222541.4912 | 10880579.0096 | 11554816.8936 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404 | 12245615.3404
|  | Total financing costs |  | £ | 4685487.4885 | 0 | 0 | 0 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 343779.299 | 249538.8998 | 249538.8998 | 249538.8998 | 249538.8998 | 249538.8998 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12
|  | Cumulative Savings after financing costs |  | £ |  | 5.457e-11 | 5.457e-11 | 2.5466e-11 | 80376.9732 | 174752.674 | 282211.2581 | 401993.1442 | 537632.0623 | 697529.2845 | 880319.8086 | 1082934.6922 | 1258969.999 | 1459609.9268 | 1775644.4108 | 2106273.9398 | 2458537.5041 | 2759696.078 | 3074402.5068 | 3655982.2092 | 4267879.0858 | 4894778 | 5537054.0027 | 6195091.5211 | 6869329.4051 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 | 7560127.8519 |  | #REF! | #REF! | #REF! | #REF! | #REF!
Payback pre financing
|  | Cost of Initial Investment |  | £ | 3468087.7089 | 2013-03-31: 0; 2014-03-31: 0; 2015-03-31: 0; 2016-03-31: 3468087.7089; 2017-03-31: 0; 2018-03-31: 0; 2019-03-31: 0; 2020-03-31: 0; 2021-03-31: 0; 2022-03-31: 0; 2023-03-31: 0; 2024-03-31: 0; 2025-03-31: 0
|  | Savings between current spend and Upgrade spend |  | £ | -12245615.342 | 0 | 0 | 0 | -424156.272 | -438155 | -451237.883 | -463561.185 | -479418.217 | -503676.521 | -526569.823 | -546394.183 | -519814.606 | -544419.227 | -565573.384 | -580168.429 | -601802.464 | -550697.474 | -564245.329 | -581579.702 | -611896.877 | -626898.914 | -642276.003 | -658037.518 | -674237.884 | -690798.447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cumulative cost / (savings) |  | £ |  | 0 | 0 | 0 | 3043931.4369 | 2605776.4369 | 2154538.5539 | 1690977.3689 | 1211559.1519 | 707882.6309 | 181312.8079 | -365081.3751 | -884895.9811 | -1429315.2081 | -1994888.5921 | -2575057.0211 | -3176859.4851 | -3727556.9591 | -4291802.2881 | -4873381.9901 | -5485278.8671 | -6112177.7811 | -6754453.7841 | -7412491.3021 | -8086729.1861 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331 | -8777527.6331
|  | Payback Flag |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | Payback Date | 2023-03-31 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023-03-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Construction complete at the start of the year ending | 2016-03-31
|  | Payback years | 8.0027
Payback post financing
|  | Cost of Initial Investment |  | £ |  | 2013-03-31: 0; 2014-03-31: 0; 2015-03-31: 0; 2016-03-31: 3468087.7089; 2017-03-31: 0; 2018-03-31: 0; 2019-03-31: 0; 2020-03-31: 0; 2021-03-31: 0; 2022-03-31: 0
|  | Savings between current spend and Upgrade spend |  | £ |  | 0 | 0 | 0 | -80376.973 | -94375.701 | -107458.584 | -119781.886 | -135638.918 | -159897.222 | -182790.524 | -202614.884 | -176035.307 | -200639.928 | -316034.484 | -330629.529 | -352263.564 | -301158.574 | -314706.429 | -581579.702 | -611896.877 | -626898.914 | -642276.003 | -658037.518 | -674237.884 | -690798.447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cumulative cost / (savings) |  | £ |  | 0 | 0 | 0 | 3387710.7359 | 3293335.0349 | 3185876.4509 | 3066094.5649 | 2930455.6469 | 2770558.4249 | 2587767.9009 | 2385153.0169 | 2209117.7099 | 2008477.7819 | 1692443.2979 | 1361813.7689 | 1009550.2049 | 708391.6309 | 393685.2019 | -187894.5001 | -799791.3771 | -1426690.2911 | -2068966.2941 | -2727003.8121 | -3401241.6961 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431 | -4092040.1431
|  | Payback Flag |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | Payback Date | 2031-03-31 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031-03-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Construction complete at the start of the year ending | 2016-03-31
|  | Payback years | 16.0082
|  | Total Nominal Status Quo Costs |  | £ | 26918358.7154 | 698402.7851 | 727700.152 | 775224.2264 | 791995.9854 | 818945.5747 | 843903.0289 | 867195.8645 | 897856.8571 | 944602.7381 | 989913.1292 | 1028687.5438 | 1053538.1178 | 1104326.337 | 1147821.9154 | 1177477.2159 | 1221926.8924 | 1184834.3057 | 1213992.7111 | 1251141.3909 | 1281882.8634 | 1313307.8385 | 1345518.4378 | 1378534.3022 | 1412469.4316 | 1447159.0708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Upgrade Costs |  | £ | 14672743.375 | 698402.7851 | 727700.152 | 775224.2264 | 367839.7132 | 380790.5749 | 392665.1459 | 403634.6795 | 418438.64 | 440926.2169 | 463343.3062 | 482293.3612 | 533723.512 | 559907.1102 | 582248.5316 | 597308.7871 | 620124.4282 | 634136.832 | 649747.3825 | 669561.6885 | 669985.9868 | 686408.9243 | 703242.4352 | 720496.7838 | 738231.5475 | 756360.624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Nominal Upgrade Costs including finance |  | £ | 19358230.8635 | 698402.7851 | 727700.152 | 775224.2264 | 711619.0122 | 724569.8738 | 736444.4448 | 747413.9785 | 762217.939 | 784705.5159 | 807122.6051 | 826072.6602 | 877502.8109 | 903686.4092 | 831787.4314 | 846847.6869 | 869663.328 | 883675.7318 | 899286.2823 | 669561.6885 | 669985.9868 | 686408.9243 | 703242.4352 | 720496.7838 | 738231.5475 | 756360.624 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12 | 9.3132e-12
Net Present Value
|  | Discount rate for Net Present Value calculation | 6.087% | %
|  | Savings / (Increased Costs) before financing costs |  |  |  | 5.457e-11 | 0 | -2.9104e-11 | 424156.2722 | 438154.9998 | 451237.883 | 463561.185 | 479418.2171 | 503676.5211 | 526569.8231 | 546394.1826 | 519814.6058 | 544419.2268 | 565573.3837 | 580168.4288 | 601802.4641 | 550697.4736 | 564245.3286 | 581579.7024 | 611896.8766 | 626898.9142 | 642276.0027 | 658037.5184 | 674237.884 | 690798.4468 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net present value | 5623822
|  | Savings / (Increased Costs) after financing costs |  |  |  | 5.457e-11 | 0 | -2.9104e-11 | 80376.9732 | 94375.7008 | 107458.5841 | 119781.886 | 135638.9181 | 159897.2222 | 182790.5241 | 202614.8836 | 176035.3069 | 200639.9278 | 316034.4839 | 330629.529 | 352263.5643 | 301158.5739 | 314706.4288 | 581579.7024 | 611896.8766 | 626898.9142 | 642276.0027 | 658037.5184 | 674237.884 | 690798.4468 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | -9.3132e-12 | 0
|  | Net present value | 2869811.4361
|  | Total Nominal Status Quo Costs |  |  |  | 698402.7851 | 727700.152 | 775224.2264 | 791995.9854 | 818945.5747 | 843903.0289 | 867195.8645 | 897856.8571 | 944602.7381 | 989913.1292 | 1028687.5438 | 1053538.1178 | 1104326.337 | 1147821.9154 | 1177477.2159 | 1221926.8924 | 1184834.3057 | 1213992.7111 | 1251141.3909 | 1281882.8634 | 1313307.8385 | 1345518.4378 | 1378534.3022 | 1412469.4316 | 1447159.0708 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net present value | 13226415.2448
|  | Total Nominal Upgrade Costs |  |  |  | 698402.7851 | 727700.152 | 775224.2264 | 367839.7132 | 380790.5749 | 392665.1459 | 403634.6795 | 418438.64 | 440926.2169 | 463343.3062 | 482293.3612 | 533723.512 | 559907.1102 | 582248.5316 | 597308.7871 | 620124.4282 | 634136.832 | 649747.3825 | 669561.6885 | 669985.9868 | 686408.9243 | 703242.4352 | 720496.7838 | 738231.5475 | 756360.624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net present value | 7602593.2449

## Results Summary
Scottish Futures Trust Model
Scenario: Base
Summary
Key Results and Outputs
|  |  | unit | total
|  | Status Quo costs year 1 (should approximately equate to equivalent maintenance and energy budgeted costs) |  | 673780.8575
|  | Initial Investment | £ | 3468087.7089
|  | Council contributions | £ | 0
|  | Net funding required | £ | 3468087.7089
|  | Total Net Savings compared to base case before capital & financing costs | £ | 12245615.3404
|  | Total Net Savings compared to base case after capital & financing costs | £ | 7560127.8519
|  | Total Maintenance Savings over analysis period | £ | 3905756.6555
|  | Total Energy Savings over analysis period | £ | 8025113.7066
|  | Other operational costs Savings over analysis period | £ | 0
|  | Total Carbon Savings over analysis period | £ | 314744.9783
|  | Payback Period pre financing | years | 8.0027
|  | Payback Period post financing | years | 16.0082
|  | NPV of Status Quo Costs (total maintenance, energy & carbon costs over analysis period discounted to base date) | £ | 13226415.2448
|  | NPV of Upgrade Costs (total maintenance, energy & carbon costs over analysis period discounted) | £ | 7602593.2449
|  | NPV of savings pre financing (saving on maintenance, energy and carbon costs over the analysis period discounted) | £ | 5623822
|  | NPV of savings post financing (saving on maintenance, energy and carbon costs less financing costs over the analysis period discounted) | £ | 2869811.4361
|  | Total Debt Service over analysis period | £ | 4685487.4885
|  | Energy consumption for Base Case in Year 1 | kWh | 4365590
|  | Energy consumption for Upgrade in Year 25 | kWh | 2292717.382
|  | Energy reduction - Year 1 to Year 25 | % | 47.48%
|  | Total Tonnes of CO2 - Status Quo | tonnes | 32130.7424
|  | Total Tonnes of CO2 - Upgrade | tonnes | 19693.5067
|  | Total Carbon saved over analysis period | tonnes | 12437.2357
|  | Carbon reduction - Status Quo to Upgrade | % | 38.71%
Checks Summary
Are all checks met?
Structural Checks
|  | Total funding equals 100% |  | OK
|  | Debt repaid by end of concession |  | OK
Commercial Checks
|  | Operation end date no more than 25 years from year of upgrade |  | OK

## GT_Custom (hidden)
C1 | Custom 1
C2 | Custom 2
C3 | Custom 3
C4 | Custom 4
C5 | Custom 5
C6 | Custom 6
C7 | Custom 7
C8 | Custom 8