Template 2: Decarbonisation Technology Long List

Whole Building Approach Summary

| Whole Building Approach | Fabric First | - Insulation details and airtightness provided for continuous thermal envelope, reducing heat losses - Internal/external wall, cavity, floor and roof insulation to ensure appropriate thermal performance - Use of high-performance glazing to reduce solar gain whilst optimising natural daylight |
| --- | --- | --- |
|  | Passive Heating, Ventilation and Cooling (HVAC) Systems | - Natural ventilation |
|  | Heat and Energy Networks | - Options for joining a heat/energy sharing network should be prioritised, and where possible this should be served by low or zero carbon technology |
|  | Building Level Systems - Heating, Cooling and Hot Water | - Heating, cooling and hot water systems should be served by low or zero carbon technology local heating systems such as heat pump technologies assessing various heat sources (air, water, ground) - Efficient zoning of heating, ventilation and air conditioning systems and controls should be adopted to enhance energy performance |
|  | Building Level System - Ventilation and Cooling Strategies and Systems | - Where mechanical ventilation or cooling systems are required, low fan powers, variable speed drives and energy recovery should be implemented to enhance energy performance - Efficient zoning of heating, ventilation and air conditioning systems and controls should be adopted to enhance energy performance |
|  | Lighting | - Low energy lighting (LEDs) should be implemented alongside optimisation of daylighting and daylighting controls, automated/sensor controls, time scheduling and dimming functions |
|  | Building Energy Management Systems (BEMS) and Controls | - BEMS to enable manageable optimisation of control set points and time schedules centrally - Integration of BEMS with energy metering and sub-meters to enhance energy efficiency |
|  | Specialist Equipment, Lifts and Small Power | - Catering and specialist Equipment, Lifts and Small Power should be reviewed for energy efficient alternatives |
|  | Low and Zero Carbon Technology | - Low and zero carbon technology options should be reviewed to support options outlined above (such as heating, cooling, hot water), and also to support additional onsite renewables generation (e.g. Solar PV, Wind) - Energy storage solutions can be considered alongside low and zero carbon technology |

Technology List Checklist

| Whole Building Approach | Technology Category | Technology Type | Present in the building? (Y/N) | Viable Decarbonisation Option? (Y/N) |
| --- | --- | --- | --- | --- |
| Fabric First | Building Fabric | Cavity wall insulation - (where appropriate) |  |  |
|  |  | Double glazing with metal or plastic frames |  |  |
|  |  | Dry wall lining |  |  |
|  |  | Loft insulation |  |  |
|  |  | Floor insulation - suspended timber floor |  |  |
|  |  | Floor insulation - solid floor or other type |  |  |
|  |  | Roof insulation |  |  |
|  |  | Secondary glazing |  |  |
|  | Draught Proofing | Insulation - draught proofing |  |  |
|  | Other Insulation | Automatic speed doors |  |  |
|  |  | Automatic/revolving doors |  |  |
|  |  | Draught lobby (external) |  |  |
|  |  | Draught lobby (internal) |  |  |
|  |  | Radiator reflective foil (external walls) |  |  |
|  | Pipework | Heating pipework insulation (external) |  |  |
|  |  | Heating pipework insulation (internal) |  |  |
| Passive Heating, Ventilation and Cooling (HVAC) Systems | Passive Heating, Ventilation and Cooling (HVAC) Systems | Natural Ventilation |  |  |
| Heat and Energy Networks | Heat and Energy Networks | Connect to existing district heating |  |  |
| Building Level Systems - Heating, Cooling and Hot Water | Low Carbon Heating | Air source heat pump (air to water) |  |  |
|  |  | Air source heat pump (air to air) |  |  |
|  |  | Ground source heat pump |  |  |
|  |  | Water source heat pump |  |  |
|  |  | Heating - electric heating |  |  |
|  |  | Biomass |  |  |
|  | Heating | Heat recovery |  |  |
|  |  | Heating - discrete controls |  |  |
|  |  | Heating - distribution pipework improvements |  |  |
|  |  | Heating - zone control valves |  |  |
|  |  | Replace steam calorifier with plate heat exchanger |  |  |
|  |  | Steam trap replacements |  |  |
|  |  | Thermal stores |  |  |
|  | Cooling | Cooling - control system |  |  |
|  |  | Cooling - plant replacement/upgrade |  |  |
|  |  | Heat recovery ventilation/mechanical ventilation heat recovery |  |  |
|  |  | Energy efficient chillers |  |  |
|  |  | Free cooling |  |  |
|  |  | Replacement of air conditioning with evaporative cooling |  |  |
|  | Hot Water | Flow restrictors |  |  |
|  |  | Hot water - distribution improvements |  |  |
|  |  | Hot water - efficient taps |  |  |
|  |  | Hot water - point of use heaters |  |  |
| Building Level System - Ventilation and Cooling Strategies and Systems | Motor controls | Fixed speed motor controls |  |  |
|  |  | Motors - flat belt drives |  |  |
|  |  | Variable speed drives |  |  |
|  | Motor replacement | Motors - high efficiency |  |  |
|  | Ventilation | Fans - air handling unit |  |  |
|  |  | Fans - high efficiency |  |  |
|  |  | Phase change material |  |  |
|  |  | Ultrasonic humidifiers |  |  |
|  |  | Ventilation - distribution |  |  |
|  |  | Ventilation - presence controls |  |  |
| Lighting | LED Lighting | LED - new fitting |  |  |
|  |  | LED - same fitting |  |  |
|  | LED Controls | Lighting - discrete controls |  |  |
|  |  | Lighting control system centralised |  |  |
| Building Energy Management Systems (BEMS) and Controls | Building Energy Management Systems (BEMS) | BEMS - not remotely managed |  |  |
|  |  | BEMS - remotely managed |  |  |
| Specialist Equipment, Lifts and Small Power | Specialist Equipment, Lifts and Small Power | Specialist Equipment, Lifts and Small Power should be reviewed for energy efficient alternatives |  |  |
| Low and Zero Carbon Technology | Renewables | Solar PV |  |  |
|  |  | Solar thermal |  |  |
|  |  | Wind turbine |  |  |
|  |  | Small hydropower |  |  |